Trouble-shooting and Problem Solving

1.   You enter the patient’s room and the patient says that they are short of breath and their oxygen saturations are beginning to drop despite the fact that you put oxygen on them.  You suspect there is a problem with the chest tube, what would you check and why?

2. You note that there is bubbling in the water seal chamber.  Discuss whether or not this is OK.

3. When would it be OK to have clamps on the chest tube tubing (3 times)?

4. You note that there is constant bubbling in the suction control chamber (wet suction).  Discuss whether or not this is OK.

5. You note that there is constant bubbling in the suction control chamber (dry suction).  Discuss whether or not this is OK.

6. How do you know if the suction is working in a dry suction control system?

7. You note the amount of drainage in the atrium has increased from 50cc/hour to over 200cc/hr.  What do you do?  What does this mean?

8. The patient has had clear chest X-rays after a MVC.  There is now indication of an air leak in the water seal chamber.  How do you find the leak?  What do you do once you find it?

9. A patient’s family is walking in the room and tips over the atrium.  What do you do? What is the MOST important thing for you to check for?

10. You are heading to a CT with your ICU patient and as you get off the elevator the chest tube tubing gets caught between the cart and elevator and is cut in half.  What do you do?

Assessing and Maintaining the Chest Tube/Water-Seal Drainage Setup

- Monitor the actual chest tube to ensure proper placement

- Verify that there is no dependent or kinked tubing

- NEVER ALLOW THE DRAINAGE SYSTEM TO BE ELEVATED ABOVE THE LEVEL OF THE PATIENT’S CHEST

- Ensure that all connections are tight and taped/banded appropriately to decrease potential for a break in the system

- Do not strip of milk chest tubes routinely as this increases intra-pleural pressure

- Monitor the water levels in the water seal and the wet suction control chamber.  Water loss will occur because of evaporation, so sterile water should be added as needed (the more suction applied, the greater the water loss)

- Observe for bubbling in the water-seal chamber and fluctuations (tidaling).  Lack of bubbling may mean either the system is blocked or the lungs have reexpanded.  If bubbling increases and is constant, there may be an air leak.  Intermittent bubbling may be seen with a sneeze, cough or exhalation.

- Clamping distally from the patient will assist in determining where the air leak is.  A new system and/or retaping connections may be necessary to correct the leak.

- Chest tubes are not routinely clamped and rarely are clamps left on unless being used to determine a patient’s readiness to have the tube removed or when changing over a full drainage system.

- Regulate the amount of bubbling in the suction chamber for a “wet” system and whether or not the float or suction indicator is on for a “dry” system.

- Documentation per unit standards usually includes: dressings, presence and size of air leak, amount and quality of drainage, water seal versus suction, pertinent physical assessment (subcutaneous emphysema)

- A Heimlich valve may be used if the patient only has a pneumothorax or in an emergency and serves as a one-way valve or water seal.